# Project Definition Form

# Project Name:

# Building Address:

# All Facility/Procedure Related Contacts:

(Names, organization, title, contact information)

(I.A)	Goals of the Analysis:

(I.B)	Questions to Be Answered:

(I.C)	Facility Definition and Boundaries:

(I.D)	Analysis Tier (Tier 1 or Tier 2):

(I.E)	Desired Accuracy of Results:

(±____%, or other criteria)

(I.F)	Estimated Budget For Performance Analysis:

(I.G)	Dates of:

Site visits:

Monitoring period:

(I.H)	Basic Building and PV System Data:

Building description:

(Floor plan, gross area, floors, space uses, typical occupancy patterns)

Principal Building Function(s):

Principal building types are classified according to the commercial activities, which are types of business, commerce, or function carried on within each building (based on EIA 2003).

Indicate percent floor area for all that apply:

|  | Education |  | Health Care |  | Office |  | Religious Worship |  | Parking |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Food Sales |  | Lodging |  | Public Assembly |  | Other Service |  | Other |
|  | Food Service |  | Mercantile |  | Public Order and Safety |  | Warehouse and Storage |  | Vacant |

Utility Company(s) and Rate Schedule(s):

(Attach to this form)

(I.I)	 Pre-Existing Performance Data

(Obtain at this time)

| Survey of Building Lighting Fixtures |
| --- |
| Space | Fixture Type | Control Type1 | Fixture Power Ratio | Qty | Lamps per Fixture | Lamp Power (W) | Total (W) |
| Total Building |  |  |  |  |  |  |  |

1 Control types:  Building Automation System (BAS), Daylighting (DL), Occupancy (occ), Manual (man)

| Measurement Planning Form |
| --- |
| Performance Metric | Data Needed | Measurement Location or Source of Data |
| Building Energy Use | total building energy use |  |
| Code Baseline Lighting Energy | Code Baseline LPD, lighting schedules, and lighted floor area |  |
| Code Baseline LPD | function of each space and LPDs for each space from the applicable energy code |  |
| Daylighting and Occupancy Energy Savings | Lighting Energy without Controls and Lighting Energy with Daylighting |  |
| Global Horizontal External Illuminance | measured external illuminance |  |
| Horizontal Illuminance | measured interior horizontal illuminance at several points |  |
| Installed Baseline Lighting Energy | Lighting Energy Use with occupancy sensors disabled and daylighting controls turned off – measured or estimated with Installed Lighting Power and lighted hours |  |
| Installed Lighting Power | Installed LPD and lighted floor area |  |
| Installed LPD | Installed lighting capacity (W) in each space by type (ambient, accent, etc.) and lighted floor area for each space |  |
| Instantaneous Heat Gain from Lighting | Number and types of fixtures, lighting power by fixture type, and fixture power ratios for each lighting type |  |
| Lighting Design Energy Savings | Code Baseline LPD and Installed LPD |  |
| Lighting Energy Cost | Time-series energy data for Lighting Energy Use and Building Energy Use, the lighting contribution to electrical demand charge, and the utility rate structure |  |
| Lighting Energy Percent of Building Energy | Lighting Energy Use, Building Energy Use |  |
| Lighting Energy Use | Tier 1: Fixture type, power per fixture, fixture power ratio, fixture counts for all lighting types, and lighting schedules Tier 2: Measured monthly Lighting Energy Use |  |
| Peak Lighting Power | Subhourly lighting energy data |  |
| Plug-in Lighting Energy Use | Estimated energy use of plug-in lighting (see Section 6.5.2) |  |
| Total Lighting Energy Savings | Code Baseline LPD, measured lighting schedule, lighted floor area, and Lighting Energy Use |  |
| Vertical Illuminance | measured vertical illuminance |  |

| Monthly and Annual Metrics |
| --- |
| Metric | Month | Annual |
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  |
| Code Baseline Lighting Energy |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Daylighting and Occupancy Energy Savings |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Installed Baseline Lighting Energy |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Lighting Energy Cost |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Lighting Energy Percent of Building Energy |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Lighting Energy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Peak Lighting Power |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Lighting Energy Savings |  |  |  |  |  |  |  |  |  |  |  |  |  |