## Table of Contents
2019 Offshore Wind Technology Data Update
Table of Contents
Slide 9: U.S. Pipeline (MW)
Slides 10-11: US Pipeline by State and Status (MW)
Slide 17: U.S. Pipeline Forecast (MW)
Slide 27: Global Offshore Wind Annual Additions (MW)
Slides 28, 31: Cumulative Installed Capacity and Capacity Under Construction as of 03/31/2020 (MW)
Slides 29, 33-34: Announced Cumulative Capacity (MW)
Slide 30: Total Global Pipeline by Status and Region (MW)
Slide 32: Developer Announced Capacity to 2025 (MW)
Slide 35: Global Forecast (MW)
Slide 38: Global Floating Pipeline
Slides 44-47: Global Floating
Slides 50-51: Global Fixed-Bottom Turbine Water Depth (m) and Distance from Shore (km) Trends
Slides 52-53: Global Offshore Wind Turbine Rating, Hub Height, and Diameter
Slides 54-55: Offshore Manufacturers by Market Share for 2019 and Future Disclosed Pipeline
Slides 56-58: Offshore Wind Substructure Technology Trend for 2019 and Future Disclosed Pipeline
Slide 64: Adjusted Strike Prices From U.S. and European Offshore Wind Auctions
Slide 65: Fixed LCOE Estimates (USD2019/MWh)
Slide 66: Capital Expenditures for Global Offshore Wind Projects
Slide 67: Operational Expenditures ($/kW)
Slide 68: Floating LCOE Estimates (USD2019/MWh)

## S9, US Pipeline
Slide 9: U.S. Pipeline (MW)
State | Project Name | Commercial Operation Date | Operating | Under Construction | Permitting | Site Control | Planning | Totals
Maine | New England Aqua Ventus I | 2023 |  |  | 12 |  |  | 12
Massachusetts | Vineyard Wind | 2023 |  |  | 800 |  |  | 8220
| Vineyard Wind Residual | TBD |  |  |  | 421
| Mayflower Wind | 2025 |  |  | 804
| Mayflower Wind Residual | TBD |  |  |  | 747
| Beacon Wind | TBD |  |  |  | 1564
| Liberty Wind | TBD |  |  |  | 1607
| Bay State Wind | TBD |  |  |  | 2277
Rhode Island | Block Island Wind Farm | 2016 | 30 |  |  |  |  | 430
| Revolution Wind | 2023 |  |  | 400
Connecticut | Revolution Wind | 2023 |  |  | 304 |  |  | 1108
| Park City Wind | 2025 |  |  | 804
New York | South Fork | 2023 |  |  | 130 |  |  | 3410
| Empire Wind | 2024 |  |  | 816
| Empire Wind Residual | TBD |  |  |  | 1584
| Sunrise Wind | 2024 |  |  | 880
New Jersey | Ocean Wind | 2024 |  |  | 1100 |  |  | 4447
| Ocean Wind Residual | TBD |  |  |  | 847
| Atlantic Shores Offshore Wind | TBD |  |  |  | 2500
Delaware | Garden State Offshore Energy | TBD |  |  |  | 1050 |  | 1050
Maryland | Skipjack | 2023 |  |  | 120 |  |  | 1086
| MarWin | 2023 |  |  | 248
| MarWin Residual | TBD |  |  |  | 718
Virginia | Coastal Virginia Offshore Wind | 2020 |  | 12 |  |  |  | 2652
| Dominion | TBD |  |  |  | 2640
North Carolina | Kitty Hawk | TBD |  |  |  | 1485 |  | 3735
| Wilmington East Wind Energy Area | TBD |  |  |  |  | 1623
| Wilmington West Wind Energy Area | TBD |  |  |  |  | 627
Ohio | Icebreaker | 2023 |  |  | 21 |  |  | 21
California | Castle Wind | TBD |  |  |  |  | 1000 | 1150
| Redwood Coast | TBD |  |  |  |  | 150
Hawaii | Oahu North | TBD |  |  |  |  | 400 | 1200
| Oahu South | TBD |  |  |  |  | 400
| Progression | TBD |  |  |  |  | 400
Total |  |  | 30 | 12 | 6439 | 17440 | 4600 | 28521
Total |  |  |  |  | 2,073 MW | 23,751 MW | 25,824 MW
1. Location refers to physical location of the project. The offtake column identifies where the project sells its power and other attributes.
2. Some project names may change based on successful bids to state procurement solicitations
3. Future commence operation dates are subject successfully negotiating offtake agreement and may change
4. Announced capacity describes the size of a project as stipulated by a developer to regulators
5. Lease Area Potential describes the potential capacity that could be installed in a lease area using a 3MW/km2 density
6. Pipeline capacity represents the lease area potential minus any developer announced capacity
7. Sizes for Unsolicited Project Applications are likely to change during stakeholder and regulatory review processes and may be eliminated in the future
8. Lease areas can often accommodate multiple projects or project phases built incrementally. The “+ Residual” refers to remaining space in the lease area that may be utilized in the future
9. The two Wind Energy Areas in North Carolina have currently not been leased by BOEM

## S10-11, US State Pipeline
Slides 10-11: US Pipeline by State and Status (MW)
Pipeline Classification | California | Connecticut | Delaware | Hawaii | Maine | Maryland | Massachusetts | New Jersey | New York | North Carolina | Ohio | Rhode Island | Virginia | Total
Operating | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 0 | 30
Under Construction | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 12
Financial Close | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Approved | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Permitting | 0 | 1108 | 0 | 0 | 12 | 368 | 1604 | 1100 | 1826 | 0 | 20.7 | 400 | 0 | 6438.7
Site Control | 0 | 0 | 1050 | 0 | 0 | 718 | 6616 | 3347 | 1584 | 1485 | 0 | 0 | 2640 | 17440
Planning | 1150 | 0 | 0 | 1200 | 0 | 0 | 0 | 0 | 0 | 2250 | 0 | 0 | 0 | 4600
Total Pipeline | 1150 | 1108 | 1050 | 1200 | 12 | 1086 | 8220 | 4447 | 3410 | 3735 | 20.7 | 430 | 2652 | 28520.7
The location of the project is defined by where the project’s power is intended to be sold. If the project does not have an offtake agreement, the location is the project’s physical location. This clarification is needed where projects are located in a certain location but sell their power to a neighboring state market.

## S17, US Forecasts
Slide 17: U.S. Pipeline Forecast (MW)
4C Offshore
State | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | Total
California | 0 | 0 | 0 | 0 | 0 | 0 | 300 | 1000 | 0 | 0 | 0 | 1300
Connecticut | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1200 | 0 | 0 | 0 | 1200
Delaware | 0 | 0 | 120 | 0 | 0 | 0 | 300 | 0 | 0 | 0 | 0 | 420
Hawaii | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 200
Maine | 0 | 12 | 0 | 0 | 0 | 0 | 300 | 0 | 0 | 0 | 0 | 312
Maryland | 0 | 248 | 0 | 0 | 0 | 0 | 0 | 1200 | 0 | 0 | 0 | 1448
Massachusetts | 0 | 800 | 0 | 804 | 804 | 0 | 800 | 1500 | 800 | 0 | 0 | 5508
New Jersey | 0 | 0 | 0 | 1100 | 0 | 1200 | 0 | 0 | 0 | 0 | 0 | 2300
New York | 0 | 0 | 0 | 816 | 0 | 800 | 0 | 1200 | 0 | 1500 | 2000 | 6316
North Carolina | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2500 | 0 | 0 | 2500
Ohio | 0 | 20.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.7
Rhode Island | 0 | 130 | 704 | 1280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2114
Virginia | 12 | 0 | 0 | 880 | 880 | 880 | 0 | 0 | 0 | 0 | 0 | 2652
Total | 12 | 1210.7 | 824 | 4880 | 1684 | 2880 | 1700 | 6300 | 3300 | 1500 | 2000 | 26290.7
BNEF
State | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | Total
California | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Connecticut | 0 | 0 | 0 | 200 | 0 | 0 | 800 | 0 | 0 | 1200 | 0 | 2200
Delaware | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hawaii | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maine | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12
Maryland | 0 | 0 | 120 | 0 | 0 | 268 | 400 | 0 | 400 | 0 | 400 | 1588
Massachusetts | 0 | 0 | 800 | 0 | 0 | 804 | 0 | 0 | 800 | 0 | 0 | 2404
New Jersey | 0 | 0 | 0 | 0 | 1100 | 1200 | 0 | 1200 | 0 | 1200 | 0 | 4700
New York | 0 | 0 | 130 | 0 | 1696 | 0 | 800 | 0 | 1000 | 0 | 1200 | 4826
North Carolina | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ohio | 0 | 0 | 0 | 20.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.7
Rhode Island | 0 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500
Virginia | 12 | 0 | 0 | 0 | 0 | 880 | 880 | 880 | 0 | 0 | 0 | 2652
Total | 12 | 0 | 1050 | 732.7 | 2796 | 3152 | 2880 | 2080 | 2200 | 2400 | 1600 | 18902.7

## S27, Global Annual Additions
Slide 27: Global Offshore Wind Annual Additions (MW)
Commercial Operation Date | Belgium | China | Denmark | Germany | Netherlands | Other Asia | Other Europe | United Kingdom | United States | Total
Pre-2001 | 0 | 0 | 5 | 0 | 16.8 | 0 | 0 | 0 | 0 | 21.8
2001 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 40
2002 | 0 | 0 | 160 | 0 | 0 | 0 | 0 | 0 | 0 | 160
2003 | 0 | 0 | 216.4 | 0 | 0 | 0 | 0 | 0 | 0 | 216.4
2004 | 0 | 0 | 0 | 4.5 | 0 | 11.32 | 25.2 | 120 | 0 | 161.02
2005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 0 | 90
2006 | 0 | 0 | 0 | 2.5 | 0 | 0 | 0 | 90 | 0 | 92.5
2007 | 0 | 1.5 | 0 | 0 | 108 | 0 | 110.4 | 90 | 0 | 309.9
2008 | 0 | 0 | 0 | 0 | 120 | 0 | 0 | 0 | 0 | 120
2009 | 30 | 2 | 21 | 0 | 0 | 0 | 2.3 | 284.4 | 0 | 339.7
2010 | 165 | 142.5 | 416.3 | 60 | 0 | 14 | 32.3 | 646.8 | 0 | 1476.9
2011 | 0 | 6.5 | 10.8 | 48.3 | 0 | 0 | 0 | 183.6 | 0 | 249.2
2012 | 0 | 160.3 | 144 | 0 | 0 | 5.006 | 4.1 | 333.6 | 0 | 647.006
2013 | 295.2 | 56 | 399.6 | 400 | 0 | 36.4 | 66.5 | 1732.8 | 0 | 2986.5
2014 | 222 | 20 | 0 | 108 | 0 | 10.5 | 0 | 451.1 | 0 | 811.6
2015 | 0 | 367.4 | 0 | 2661.2 | 129 | 30 | 0.63 | 1061.5 | 0 | 4249.73
2016 | 0 | 382 | 0 | 0 | 150 | 85.2 | 0 | 0 | 0 | 617.2
2017 | 165 | 605.2 | 0 | 1714.8 | 600 | 41 | 68.4 | 686.2 | 30 | 3910.6
2018 | 0 | 1599.8 | 28 | 1185 | 0 | 3 | 10.3 | 2120.2 | 0 | 4946.3
2019 | 678.6 | 2656.4 | 406.7 | 1257 | 0 | 3 | 27.8 | 588 | 0 | 5617.5
Total | 1555.8 | 5999.6 | 1847.8 | 7441.3 | 1123.8 | 239.426 | 347.93 | 8478.2 | 30 | 27063.856

## S28,31, Global Summary
Slides 28, 31: Cumulative Installed Capacity and Capacity Under Construction as of 03/31/2020 (MW)
Country | Installed | Under Construction
Belgium | 1555.8 | 706
China | 5999.6 | 10611
Denmark | 1847.8 | 605
France | 0 | 480
Germany | 7441.3 | 219.8
Netherlands | 1123.8 | 1886.2
Other | 587.356 | 90
Taiwan | 0 | 1247.2
United Kingdom | 8478.2 | 5626
United States | 30 | 12
Vietnam | 0 | 389
Total | 27063.856 | 21872.2

## S29,33-34, Global Cumulative
Slides 29, 33-34: Announced Cumulative Capacity (MW)
Commercial Operation Date | Belgium | China | Denmark | Germany | Netherlands | Other Americas | Other Asia | Other Europe | South Korea | Taiwan | United Kingdom | United States | Vietnam | Total
1995 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
1996 | 0 | 0 | 5 | 0 | 16.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.8
1997 | 0 | 0 | 5 | 0 | 16.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.8
1998 | 0 | 0 | 5 | 0 | 16.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.8
1999 | 0 | 0 | 5 | 0 | 16.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.8
2000 | 0 | 0 | 5 | 0 | 16.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.8
2001 | 0 | 0 | 45 | 0 | 16.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 61.8
2002 | 0 | 0 | 205 | 0 | 16.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 221.8
2003 | 0 | 0 | 421.4 | 0 | 16.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 438.2
2004 | 0 | 0 | 421.4 | 4.5 | 16.8 | 0 | 11.32 | 25.2 | 0 | 0 | 120 | 0 | 0 | 599.22
2005 | 0 | 0 | 421.4 | 4.5 | 16.8 | 0 | 11.32 | 25.2 | 0 | 0 | 210 | 0 | 0 | 689.22
2006 | 0 | 0 | 421.4 | 7 | 16.8 | 0 | 11.32 | 25.2 | 0 | 0 | 300 | 0 | 0 | 781.72
2007 | 0 | 1.5 | 421.4 | 7 | 124.8 | 0 | 11.32 | 135.6 | 0 | 0 | 390 | 0 | 0 | 1091.62
2008 | 0 | 1.5 | 421.4 | 7 | 244.8 | 0 | 11.32 | 135.6 | 0 | 0 | 390 | 0 | 0 | 1211.62
2009 | 30 | 3.5 | 442.4 | 7 | 244.8 | 0 | 11.32 | 137.9 | 0 | 0 | 674.4 | 0 | 0 | 1551.32
2010 | 195 | 146 | 858.7 | 67 | 244.8 | 0 | 25.32 | 170.2 | 0 | 0 | 1321.2 | 0 | 0 | 3028.22
2011 | 195 | 152.5 | 869.5 | 115.3 | 244.8 | 0 | 25.32 | 170.2 | 0 | 0 | 1504.8 | 0 | 0 | 3277.42
2012 | 195 | 312.8 | 1013.5 | 115.3 | 244.8 | 0 | 25.326 | 174.3 | 5 | 0 | 1838.4 | 0 | 0 | 3924.426
2013 | 490.2 | 368.8 | 1413.1 | 515.3 | 244.8 | 0 | 45.726 | 240.8 | 5 | 0 | 3571.2 | 0 | 16 | 6910.926
2014 | 712.2 | 388.8 | 1413.1 | 623.3 | 244.8 | 0 | 50.726 | 240.8 | 10.5 | 0 | 4022.3 | 0 | 16 | 7722.526
2015 | 712.2 | 756.2 | 1413.1 | 3284.5 | 373.8 | 0 | 80.726 | 241.43 | 10.5 | 0 | 5083.8 | 0 | 16 | 11972.256
2016 | 712.2 | 1138.2 | 1413.1 | 3284.5 | 523.8 | 0 | 82.726 | 241.43 | 10.5 | 0 | 5083.8 | 0 | 99.2 | 12589.456
2017 | 877.2 | 1743.4 | 1413.1 | 4999.3 | 1123.8 | 0 | 82.726 | 309.83 | 43.5 | 8 | 5770 | 30 | 99.2 | 16500.056
2018 | 877.2 | 3343.2 | 1441.1 | 6184.3 | 1123.8 | 0 | 85.726 | 320.13 | 43.5 | 8 | 7890.2 | 30 | 99.2 | 21446.356
2019 | 1555.8 | 5999.6 | 1847.8 | 7441.3 | 1123.8 | 0 | 88.726 | 347.93 | 43.5 | 8 | 8478.2 | 30 | 99.2 | 27063.856
2020 | 2261.8 | 10361.6 | 1847.8 | 7661.1 | 1895.8 | 0 | 182.326 | 378.96 | 303.45 | 237.2 | 10460.2 | 30 | 265.2 | 35885.436
2021 | 2261.8 | 20308.6 | 2452.8 | 7663.4 | 3010 | 0 | 283.421 | 448.785 | 1208.45 | 1355.2 | 12270.2 | 42 | 577.2 | 51881.856
2022 | 2261.8 | 25094.6 | 2684.8 | 7988.4 | 3010 | 9.5 | 394.921 | 1691.285 | 2273.45 | 1705.2 | 14739.2 | 1124.7 | 727.2 | 63705.056
2023 | 2261.8 | 30572.6 | 3028.8 | 8245.4 | 4410 | 9.5 | 625.621 | 4835.285 | 3809.45 | 3057.2 | 17199.2 | 2076.7 | 2406.2 | 82537.756
2024 | 2261.8 | 31640.6 | 3678.8 | 9873.15 | 5110 | 405.5 | 1848.221 | 5420.285 | 4209.45 | 3405.2 | 19801.2 | 7336.7 | 3006.2 | 97997.106
2025 | 2261.8 | 34788.6 | 3998.8 | 10773.15 | 5110 | 1125.5 | 2593.221 | 7030.285 | 6049.45 | 6169.2 | 24621.2 | 9020.7 | 3644.2 | 117186.106
2026 | 2261.8 | 35788.6 | 3998.8 | 10773.15 | 5110 | 1365.5 | 3431.421 | 9858.285 | 6953.45 | 6169.2 | 31871.2 | 13204.7 | 4244.2 | 135030.306
2027 | 2261.8 | 36838.6 | 3998.8 | 10773.15 | 5110 | 1963.5 | 3431.421 | 12763.785 | 6953.45 | 6499.2 | 35049.2 | 13204.7 | 4644.2 | 143491.806
2028 | 2261.8 | 41188.6 | 3998.8 | 10773.15 | 5110 | 1963.5 | 4411.421 | 15163.785 | 6953.45 | 8579.2 | 36366.2 | 18125.7 | 4644.2 | 159539.806
2029 | 2261.8 | 45188.6 | 3998.8 | 10773.15 | 5110 | 1963.5 | 4411.421 | 15163.785 | 8953.45 | 9339.2 | 37623.2 | 21892.7 | 4644.2 | 171323.806
2030 | 2261.8 | 58391 | 3998.8 | 10773.15 | 5110 | 1963.5 | 7091.421 | 20771.785 | 8953.45 | 11531.2 | 37623.2 | 25849.7 | 4802.2 | 199121.206
2031 | 2261.8 | 63091 | 3998.8 | 10773.15 | 5110 | 1963.5 | 7091.421 | 20771.785 | 8953.45 | 11531.2 | 37623.2 | 25849.7 | 4802.2 | 203821.206
2032 | 2261.8 | 67241 | 3998.8 | 10773.15 | 5110 | 1963.5 | 7091.421 | 20771.785 | 8953.45 | 11531.2 | 37623.2 | 25849.7 | 4802.2 | 207971.206
2033 | 2261.8 | 71571 | 3998.8 | 10773.15 | 5110 | 1963.5 | 7091.421 | 20771.785 | 8953.45 | 11531.2 | 37623.2 | 25849.7 | 4802.2 | 212301.206
2034 | 2261.8 | 77571 | 3998.8 | 10773.15 | 5110 | 1963.5 | 7091.421 | 20771.785 | 8953.45 | 11531.2 | 37623.2 | 25849.7 | 4802.2 | 218301.206
2035 | 2261.8 | 80523 | 3998.8 | 10773.15 | 5110 | 1963.5 | 7091.421 | 20771.785 | 8953.45 | 11531.2 | 37623.2 | 28520.7 | 4802.2 | 223924.206
2036 | 2261.8 | 82623 | 3998.8 | 10773.15 | 5110 | 1963.5 | 7091.421 | 20771.785 | 8953.45 | 11531.2 | 37623.2 | 28520.7 | 4802.2 | 226024.206
2037 | 2261.8 | 86173 | 3998.8 | 10773.15 | 5110 | 1963.5 | 7091.421 | 20771.785 | 8953.45 | 11531.2 | 37623.2 | 28520.7 | 4802.2 | 229574.206
2038 | 2261.8 | 86773 | 3998.8 | 10773.15 | 5110 | 1963.5 | 7091.421 | 20771.785 | 8953.45 | 11531.2 | 37623.2 | 28520.7 | 4802.2 | 230174.206

## S30, Global Regional
Slide 30: Total Global Pipeline by Status and Region (MW)
Pipeline Classification | Asia | Europe | United States | Other | Total
Installed | 6239.026 | 20794.83 | 30 | 0 | 27063.856
Under Construction | 12307.2 | 9553 | 12 | 0 | 21872.2
Financial Close | 999.2 | 956 | 0 | 0 | 1955.2
Approved | 39637.9 | 19280.78 | 0 | 396 | 59314.68
Permitting | 1909 | 9211.1 | 6438.7 | 729.5 | 18288.3
Site Control | 0 | 0 | 17440 | 0 | 17440
Planning | 57558.945 | 20743.025 | 4600 | 1338 | 84239.97
Total Pipeline | 118651.271 | 80538.735 | 28520.7 | 2463.5 | 230174.206
Does not include projects that are dormant, cancelled, decommissioned, or development zones.
Please note the North America region includes potential offshore wind projects in Canada.

## S32, Developer Announced
Slide 32: Developer Announced Capacity to 2025 (MW)
Commercial Operation Date | Belgium | China | Denmark | Germany | Netherlands | Other Americas | Other Asia | Other Europe | United Kingdom | United States | Total
2020 | 706 | 4362 | 0 | 219.8 | 772 | 0 | 748.75 | 31.03 | 1982 | 0 | 8821.58
2021 | 0 | 9947 | 605 | 2.3 | 1114.2 | 0 | 2436.095 | 69.825 | 1810 | 12 | 15996.42
2022 | 0 | 4786 | 232 | 325 | 0 | 9.5 | 1676.5 | 1242.5 | 2469 | 1082.7 | 11823.2
2023 | 0 | 5478 | 344 | 257 | 1400 | 0 | 4797.7 | 3144 | 2460 | 952 | 18832.7
2024 | 0 | 1068 | 650 | 1627.75 | 700 | 396 | 2570.6 | 585 | 2602 | 5260 | 15459.35
2025 | 0 | 3148 | 320 | 900 | 0 | 720 | 5987 | 1610 | 4820 | 1684 | 19189
Total | 706 | 28789 | 2151 | 3331.85 | 3986.2 | 1125.5 | 18216.645 | 6682.355 | 16143 | 8990.7 | 90122.25

## S35, Global Forecasts
Slide 35: Global Forecast (MW)
4C Offshore
Country | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | Total
Belgium | [8 empty] | 30 | 165 | 184.5 | 110.7 |  | 222 |  |  | 165 | 309 | 369.6 | 706 | [6 empty] | 2100 |  |  |  |  | 4361.8
Brazil | [22 empty] | 9.5 |  |  | 1318 | [5 empty] | 1327.5
Canada | [22 empty] | 396 |  | 180 | [6 empty] | 576
China | [7 empty] | 1.5 |  | 142.5 | 2.5 | 207.5 | 174.2 |  | 296 | 804.8 | 1174.4 | 2515.8 | 3180.4 | 8099 | 11088 | 4874 | 1068 | 1148 | 1200 | 1050 | 4350 | 4000 | 4402.4 | 4200 | 4400 | 58379
Denmark | 40 |  | 376.4 | [5 empty] | 209.33 | 238.8 |  | 399.6 | [5 empty] | 434.7 |  |  | 605 |  | 416 | 1130 | 1000 |  | 1000 |  | 1000 |  |  | 6859.78
Finland | [7 empty] | 15 | 15 |  | 2.3 | [5 empty] | 26.4 | 42 | [13 empty] | 100.7
France | [17 empty] | 2 | 0.2 |  |  | 1552.7 | 1472 |  |  | 1598 | 1000 | 1000 | 1000 | 1000 |  | 8624.9
Germany |  |  |  |  | 4.5 |  | 2.5 |  | 65 |  | 448.3 | 200 | 1091.2 | 1190 | 288 | 1202.1 | 862.7 | 781 | 1402 | 128.8 |  | 325 | 267 | 1867.75 | 900 | 958 | 930 | 1900 | 1900 | 3512 |  | 20225.85
Greece | [25 empty] | 350 | [5 empty] | 350
India | [25 empty] | 1000 | 600 | 1000 | 1800 | 1200 |  | 5600
Ireland |  |  |  | 25.2 | [18 empty] | 5 | 800 |  | 930 |  |  | 900 | 800 |  | 3460.2
Italy | [7 empty] | 0.08 | [12 empty] | 30 | [10 empty] | 30.08
Japan |  |  |  | 11.32 | [5 empty] | 14 |  | 0.006 | 22.5 | 2 | 12 |  | 2 | 3 |  |  | 101.095 | 1714.5 | 296.6 | 545 |  |  |  | 200 |  |  |  | 2924.021
Lithuania | [28 empty] | 700 |  |  | 700
Netherlands | [6 empty] | 228 | [7 empty] | 129 | 744 |  |  |  | 731.5 | 1154.7 |  | 1400 | 700 | 1400 | 1600 | 2000 |  | 2000 |  |  | 12106
Norway | [9 empty] | 2.3 |  | 0.015 |  |  | 0.001 |  |  |  |  | 0.6 | 4.6 |  | 88 | 350 |  |  | 1800 | 2000 |  |  |  | 4245.516
Poland | [24 empty] | 720 | 1045.5 | 1720 |  | 1848 |  |  | 5333.5
Portugal | [11 empty] | 2 | [7 empty] | 25 | [11 empty] | 27
South Korea | [11 empty] | 5 |  |  |  | 30 | 3 | 60 |  | 0.75 | 1274.2 | 1970 | 200 | 200 |  | 1400 | 200 | 1000 | 500 |  |  | 6842.95
Spain | [18 empty] | 5 |  | 2.225 | 20.6 |  |  | 25 | 310 | [5 empty] | 362.825
Sweden | 10.5 | 10 |  |  |  |  | 110.4 |  |  | 30 |  | 0.0015 | 48 |  |  | 0.03 | [9 empty] | 260 | [5 empty] | 472.2315
Taiwan | [16 empty] | 8 |  |  | 120 | 1127.2 | 1802 |  | 900 | 1712 | 330 | 2080 | 760 | 1692 | 500 | 500 | 11531.2
United Kingdom | 4 |  |  | 120 | 90 | 90 | 100 | 368.4 | 262.8 | 1120.8 | 333.6 | 1083.6 | 650.1 | 615 | 210 | 49.5 | 1982.7 | 1318.5 | 2075.2 | 950 | 1308 | 1386 | 3675 | 3412 | 3290 | 2584 | 3900 | 2778 | 1317 | 1257 |  | 36331.2
United States | [13 empty] | 0.02 |  | 30 |  |  |  |  | 12 | 1210.7 | 824 | 4880 | 1684 | 2880 | 1700 | 6300 | 3300 | 1500 | 2000 | 26320.72
Vietnam | [12 empty] | 16 |  | 83.2 |  | 40 |  | 172 | 98 | 587 | 160 | 831 | 38 | [7 empty] | 2025.2
Total | 54.5 | 10 | 376.4 | 156.52 | 94.5 | 90 | 440.9 | 384.98 | 582.13 | 1713.4 | 971.2 | 2008.4225 | 2002 | 2029.02 | 1018.201 | 2860.43 | 4264.2 | 5466 | 7204.4 | 10859.65 | 17294.02 | 15015.5 | 10948.1 | 15970.75 | 12111 | 17613.5 | 23380 | 20938 | 22359.4 | 13969 | 6900 | 219118.1735
BNEF
Country | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | Total
Belgium | [8 empty] | 30.45 |  | 165 |  | 184.5 | 110.7 | 216 |  |  | 165 |  | 678.3 | 705.7 | [6 empty] | 800 | 1000 |  |  | 4055.65
China | [7 empty] | 1.5 |  |  | 143 | 99.3 | 118.6 | 36.5 | 176.6 | 392 | 636.7 | 1062 | 1743.35 | 2548.65 | 3825.9 | 4504.9 | 3769 | 3586.5 | 3300 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 43944.5
Denmark |  | 40 | 160 | 213.4 | [5 empty] | 237.5 | 207.033 | 3.6 |  | 399.6 |  |  |  |  | 28 | 406.7 |  | 604.8 |  | 344 |  |  |  | 1000 |  | 1000 | 1000 | 5654.583
Finland | [8 empty] | 24 |  | 2.3 | [6 empty] | 40 | [13 empty] | 66.3
France | [18 empty] | 2 |  |  |  | 593.7 | 1940 | 496 |  | 600 | 250 | 1250 | 1750 | 1000 | 7881.7
Germany |  |  |  |  | 4.5 |  | 2.5 |  | 10 |  | 60.45 | 48.3 |  | 400 | 108 | 2647.2 |  | 2064.8 | 465 | 1649.4 | 219.68 |  | 589.25 | 727.75 |  | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 19796.83
Greece | [29 empty] | 250 | 250 | 500
India | [26 empty] | 500 | 1000 | 1000 | 1000 | 1000 | 4500
Ireland |  |  |  |  | 25.2 | [21 empty] | 1000 |  | 1000 |  | 1500 | 3525.2
Italy | [8 empty] | 0.08 | [11 empty] | 30 | [9 empty] | 900 | 930.08
Japan | [11 empty] | 0.19 |  | 8.4 |  |  | 5 | 3 |  | 3 |  | 7.5 | 246.8 | 22 |  | 1038 | 1538.2 | 1360 | 1700 | 1500 | 1713 | 9145.09
Lithuania | [29 empty] | 700 |  | 700
Netherlands | [7 empty] | 108 | 120 | [6 empty] | 129 | 144 | 600 |  |  | 771.5 | 1114.2 |  | 1450 | 750 |  | 1400 |  | 700 | 2000 |  | 9305.5
Norway | [9 empty] | 2.3 | [10 empty] | 3.6 | 1 | 88 |  |  |  | 300 | 200 |  |  |  | 594.9
Poland | [26 empty] | 840 | 1050 | 600 | 500 | 500 | 3490
Portugal | [12 empty] | 2 | [7 empty] | 25.2 | [10 empty] | 27.2
South Korea | [12 empty] | 5 |  |  |  |  | 33 |  | 60 |  |  | 98.8 | 136 | 151.2 | 69.8 | 99.1 | 405.9 | 849.2 | 2390.6 | 2550.4 | 6849
Spain | [19 empty] | 5.2 | [9 empty] | 300 | 600 | 905.2
Sweden | 10.5 | 10 | [6 empty] | 110.4 |  | 30 |  |  | 48 |  |  |  |  | 3.3 | [12 empty] | 214.95
Taiwan | [16 empty] | 8 |  |  | 120 | 109.2 | 1238 | 1250 | 452 | 648 | 1964 | 1000 | 1000 | 1000 | 1000 | 1000 | 10789.2
United Kingdom | 4 |  |  | 60 | 60 | 90 | 90 | 100 |  | 284.4 | 652.8 | 183.6 | 1156.73 | 974.1 | 395.8 | 1054.5 |  | 729.5 | 2080.5 | 2270 | 297.5 | 1092.5 | 2098.5 | 1760 | 2954 | 2469 | 2590 | 2530 | 2356 | 2216 | 1982 | 32531.43
United States | [16 empty] | 30 |  |  |  | 12 |  | 1050 | 732.7 | 2796 | 3152 | 2880 | 2080 | 2200 | 2400 | 1600 | 18932.7
Vietnam | [13 empty] | 16 |  |  | 83.2 |  |  |  | 32 | 421 |  |  |  | 500 | 500 | 500 | 500 | 500 | 500 | 3552.2
Total | 14.5 | 50 | 160 | 273.4 | 89.7 | 90 | 92.5 | 209.5 | 294.93 | 524.2 | 1260.583 | 334.99 | 1466.83 | 1993.3 | 896.4 | 4222.7 | 906.9 | 4697.3 | 4322.15 | 7741.25 | 6032.28 | 8983.9 | 9784.05 | 11150.95 | 11095.2 | 13992.8 | 18047.3 | 16975.9 | 18955.2 | 22306.6 | 20895.4 | 187892.213

## S38, Global Floating Pipeline
Slide 38: Global Floating Pipeline
Pipeline Classification | Other | Europe | United States | Asia | Total
Installed | 0 | 62.13 | 0 | 22.006 | 84.136
Under Construction | 0 | 50 | 0 | 0 | 50
Approved | 0 | 20.03 | 0 | 0 | 20.03
Permitting | 0 | 237.1 | 12 | 1300 | 1549.1
Planning | 500 | 1687.525 | 2350 | 1421.75 | 5959.275
Total Pipeline | 500 | 2056.785 | 2362 | 2743.756 | 7662.541

## S44-47, Global Floating
Slides 44-47: Global Floating
Project Name | Country | Status | COD | Project Size (MW) | Substructure Type | Substructure Name | Turbine | Site Water Depth (m)
Shanghai Electric Floating Demonstrator | China | Planning | 2023 | 4 | TBD | TBD | TBD | TBD
V-Type Floating Demonstration | China | Planning | 2023 | 12 | Spar | TBD | TBD | TBD
Kyushu Wind Lens | Japan | Operational | 2012 | 0.06 | Steel semisubmersible | Wind Lens Floater | 3 kilowatts (kW) (RIAMWIND) | 55
Fukushima Phase 1 | Japan | Operational | 2013 | 2 | Steel semisubmersible | Fukushima Mirai | 2 MW (Hitachi) | 120
Fukushima Phase 2 | Japan | Operational | 2015 | 7 | Steel semisubmersible | Fukushima Shimpuu | 7 MW (Mitsubishi) | 120
Fukushima Phase 2 | Japan | Operational | 2016 | 5 | Steel spar | Hamakaze Spar | 5 MW (Hitachi) | 120
Goto Sakiyama | Japan | Operational | 2016 | 2 | Steel spar | Steel Spar | 2 MW (Hitachi) | 100
Hibiki Demo | Japan | Operational | 2018 | 3 | Barge | Ideol Damping Pool | 3 MW (Aerodyn) | 55
Kitakyushu NEDO | Japan | Operational | 2019 | 3 | Barge | Ideol Damping Pool | 3 MW (Aerodyn) | 100
Equinor-Hitachi Zosen | Japan | Planning | 2022 | TBD (Commercial Scale) | TBD | TBD | TBD | TBD
Acacia | Japan | Planning | 2023 | TBD (Commercial Scale) | Barge | Ideol Dampening Pool | 8 MW | TBD
WindFloat Japan | Japan | Planning | TBD | TBD | Steel semisubmersible | PPI WindFloat | TBD | TBD
KFWind | South Korea | Permitting | 2025 | 500 | Steel semisubmersible | PPI WindFloat | 63 x 8 MW (MHI Vestas) | 150
Donghae Gray Whale | South Korea | Permitting | 2025 | 200 | TBD | TBD | TBD | 150
Donghae TwinWind | South Korea | Permitting | 2025 | 200 | Multiturbine steel semisubmersible | Hexicon | 20 x 10 MW | 150
KNOC/Equinor | South Korea | Permitting | 2026 | 200 | TBD | TBD | TBD | 150
Ulsan White Heron | South Korea | Permitting | 2026 | 200 | TBD | TBD | TBD | 150
Donghae - MOTIE | South Korea | Planning | 2022 | 200 | Steel semisubmersible | TBD | TBD | TBD
Donghae 1 | South Korea | Planning | 2023 | 200 | Spar | TBD | TBD | TBD
Ulsan Demos | South Korea | Planning | 2021 | 5.75 | Steel semisubmersible | TBD | TBD | TBD
Floating W1N | Taiwan | Planning | 2025 | 500 | Steel semisubmersible | TBD | TBD | TBD
EOLFI – W3 | Taiwan | Planning | 2030 | 500 | TBD | TBD | TBD | TBD
Plambeck Emirates | Saudi Arabia | Planning | 2024 | 500 | Steel semisubmersible | Saipem HexaFloat | TBD | TBD
Floatgen Demo | France | Operational | 2018 | 2 | Barge | Ideol Dampening Pool | 2 MW (MHI Vestas) | 33
EOLMED (Gruissan) | France | Permitting | 2021 | 25 | Barge | Ideol Dampening Pool | 4 x 6.2 MW (Senvion) | 55
Provence Grand Large Wind Farm | France | Permitting | 2021 | 25.2 | Steel tension-leg platform | SBM Windfloater | 3 x 8.4 MW (Siemens Gamesa) | 90
EOLink Demo | France | Permitting | 2021 | 6 | Steel semisubmersible | EOLink | 6 MW | 36
EFGL - Les éoliennes flottantes du Golfe du Lion | France | Permitting | 2022 | 30 | Steel semisubmersible | PPI WindFloat | 3 x 10 MW (MHI Vestas) | 70
Groix-Belle-Ile | France | Permitting | 2022 | 28.5 | Steel semisubmersible | Naval Sea Reed | 3 x 9.5 MW (MHI Vestas) | 60
Bretagne Sud | France | Planning | 2025 | TBD | Steel semisubmersible | Naval Sea Reed | TBD | TBD
EOLMED (Commercial) | France | Planning | 2025 | 250 | Barge | Ideol Dampening Pool | TBD | TBD
EOLink Commercial | France | Planning | TBD | TBD | Steel semisubmersible | EOLink | TBD | TBD
Gicon SOF | Germany | Planning | 2021 | 2.3 | Steel tension-leg platform | Gicon TLP | 2.3 MW (Siemens Gamesa) | TBD
AFLOWT | Ireland | Planning | 2022 | 6 | Steel semisubmersible | Saipem HexaFloat | TBD | 100
Inis Ealga floating wind farm | Ireland | Planning | 2026 | 700 | TBD | TBD | TBD | TBD
Hywind I Demo | Norway | Operational | 2009 | 2.3 | Steel spar | Equinor Hywind | 2.3 MW (Siemens Gamesa) | 220
TetraSpar Demo | Norway | Permitting | 2021 | 3.6 | Steel spar | TetraSpar | 3.6 MW (Siemens Gamesa) | 200
FLAGSHIP Demonstration | Norway | Permitting | 2022 | 10 | Concrete semisubmersible | OO-Star Wind Floater | 10 MW+ (TBD) | TBD
Hywind Tampen | Norway | Permitting | 2022 | 88 | Concrete spar | Equinor Hywind | 11 x 8 MW (Siemens Gamesa) | 300
NOAKA | Norway | Planning | TBD | TBD | Steel spar | Equinor Hywind | 8 MW (Siemens Gamesa) | 200
Test Area Stadt | Norway | Permitting | 2025 | 10 | TBD | TBD | TBD | TBD
WindFloat Atlantic | Portugal | Operational | 2020 | 25 | Steel semisubmersible | PPI WindFloat | 3 x 8.3 MW (MHI Vestas) | 100
W2Power | Spain | Operational | 2019 | 0.02 | Multiturbine steel semisubmersible | W2Power | 100 kW | 600
BlueSATH | Spain | Operational | 2020 | 0.03 | Concrete semisubmersible | SATH | Aeolos-H 30kW | 80
DemoSATH | Spain | Operational | 2020 | 2 | Concrete semisubmersible | SATH | 2 MW (XEMC Darwind) | 80
Floating Power Plant | Spain | Planning | 2021 | 8 | Hybrid wind-wave semisubmersible | P80 | 5 MW+ (TBD) | 600
FLOCAN 5 | Spain | Planning | 2024 | 25 | Steel semisubmersible | TBD | TBD | TBD
X1 Wind | Spain | Permitting | 2021 | 2 | Steel tension-leg platform | PivotBuoy | 2 MW (MHI Vestas) | 600
Nautilus/Balea | Spain | Planning | 2023 | 8 | Steel semisubmersible | Nautilus Semi-sub | 8 MW (TBD) | 120
Equinor Floating Project (Juan Grande) | Spain | Planning | 2024 | 200 | Steel spar | Equinor Hywind | TBD | TBD
Iberdrola Demo | Spain | Planning | TBD | TBD | TBD | TBD | TBD | TBD
CanArray | Spain | Planning | TBD | TBD | Multiturbine steel semisubmersible | W2Power | 6 MW (TBD) | 600
SeaTwirl 1 | Sweden | Operational | 2015 | 0.03 | Steel spar (VAWT*) | SeaTwirl | 30-kW VAWT | 35
SeaTwirl 2 | Sweden | Permitting | 2021 | 1 | Steel spar (VAWT) | SeaTwirl | 1-MW VAWT | 100
Hywind Scotland | UK | Operational | 2017 | 30 | Steel spar | Equinor Hywind | 6 MW (Siemens Gamesa) | 112
Kincardine Phase 1 | UK | Operational | 2018 | 2 | Steel semisubmersible | PPI WindFloat | 2 MW (MHI Vestas) | 62
Kincardine Phase 2 | UK | Under Construction | 2020 | 50 | Steel semisubmersible | PPI WindFloat | 5 x 9.5 MW (MHI Vestas) | 62
Marine Power Systems | UK | Planning | 2023 | TBD | Wind-wave hybrid steel semisubmersible | DualSub | TBD | TBD
Dolphyn Phase 1 | UK | Planning | 2024 | 2 | Steel semisubmersible | PPI WindFloat +Electrolyzer | 2 MW (MHI Vestas) | TBD
Erebus | UK | Planning | 2025 | 96 | Steel semisubmersible | PPI WindFloat | TBD | 70
Dolphyn Phase 2 | UK | Planning | 2027 | 400 | Steel semisubmersible | PPI WindFloat +Electrolyzer | 10 MW | TBD
Dounreay Tri | UK | Planning | TBD | 10 | Multiturbine steel semisubmersible | Hexicon | 5 MW (TBD) | TBD
Katanes Floating Energy Park | UK | Planning | 2022 | 8 | Hybrid wind-wave semisubmersible | P80 | 5 MW+ (TBD) | TBD
Dyfed Floating Energy Park | UK | Planning | TBD | TBD | Hybrid wind-wave semisubmersible | P80 | 5 MW+ (TBD) | TBD
Aqua Ventus | United States | Permitting | 2022 | 12 | Concrete semisubmersible | VolturnUS | 10 MW + (TBD) | 100
Castle Wind | United States | Planning | TBD | 1000 | Steel semisubmersible | TBD | TBD | 900
Magellan Stiesdal | United States | Planning | TBD | TBD | Steel semisubmersible | TetraSpar | TBD | TBD
Oahu North | United States | Planning | TBD | 400 | Steel semisubmersible | TBD | TBD | 850
Oahu South | United States | Planning | TBD | 400 | Steel semisubmersible | TBD | TBD | 650
Progression South | United States | Planning | TBD | 400 | Steel semisubmersible | TBD | TBD | 600
Redwood Coast | United States | Planning | TBD | 150 | Steel semisubmersible | PPI WindFloat | 8 MW+ (TBD) | 600

## S50-51, Depth and Dist to Shore
Slides 50-51: Global Fixed-Bottom Turbine Water Depth (m) and Distance from Shore (km) Trends
Commercial Operation Date | Weighted Mean Depth | 5-Year Weighted Mean Depth | Weighted Mean Distance to Shore | 5-Year Weighted Mean Distance to Shore | Mean Capacity | Weighted Mean Capacity
2001 | 6 |  | 4.65 |  | 40 | 40
2002 | 11 |  | 17.75 |  | 160 | 160
2003 | 9.4878 |  | 9.8644 |  | 94.3 | 148.2098
2004 | 11.4085 |  | 9.8913 |  | 42.6 | 49.707
2005 | 4.5 | 8.4793 | 9.85 | 10.4011 | 90 | 90
2006 | 16 | 10.4793 | 12.74 | 12.0191 | 90 | 90
2007 | 15.4725 | 11.3738 | 11.4148 | 10.7521 | 109.2 | 109.2132
2008 | 24 | 14.2762 | 26.43 | 14.0652 | 120 | 120
2009 | 11.2197 | 14.2384 | 9.5983 | 14.0066 | 67.08 | 84.4862
2010 | 18.2123 | 16.9809 | 25.2425 | 17.0851 | 173.8833 | 208.8416
2011 | 22.1669 | 18.2143 | 18.818 | 18.3007 | 115.95 | 155.4198
2012 | 25.9532 | 20.3104 | 17.6195 | 19.5417 | 166.8 | 168.4921
2013 | 27.4704 | 21.0045 | 39.278 | 22.1113 | 249.5111 | 354.3379
2014 | 21.5957 | 23.0797 | 26.3243 | 25.4565 | 193.775 | 275.445
2015 | 28.8681 | 25.2108 | 45.7744 | 29.5628 | 245.3375 | 320.6781
2016 | 9.5667 | 22.6908 | 7.6933 | 27.3379 | 75 | 83.3333
2017 | 28.2353 | 23.1472 | 54.5321 | 34.7204 | 289.0667 | 395.2745
2018 | 32.5018 | 24.1535 | 33.1408 | 33.493 | 343.9667 | 435.4109
2019 | 30.3432 | 25.903 | 45.6238 | 37.3529 | 299.5929 | 373.5439
2020 | 29.023 | 25.934 | 46.2582 | 37.4497 | 289.544 | 520.7149
2021 | 29.2187 | 29.8644 | 28.8523 | 41.6814 | 361.3176 | 485.8434
2022 | 39.6648 | 32.1503 | 45.8768 | 39.9504 | 357.6826 | 668.4686
2023 | 30.8299 | 31.8159 | 37.166 | 40.7554 | 436.8111 | 540.7663
2024 | 33.6072 | 32.4687 | 48.9727 | 41.4252 | 542.6481 | 869.1386
2025 | 42.855 | 35.2351 | 70.5662 | 46.2868 | 699.8696 | 1040.8693

## S52-53, Global Turbine Trends
Slides 52-53: Global Offshore Wind Turbine Rating, Hub Height, and Diameter
Commercial Operation Date | Turbine Capacity (MW) | Rotor Diameter (m) | Hub Height (m)
2001 | 2 | 76 | 64
2002 | 2 | 80 | 70
2003 | 2.3421 | 82.8572 | 69.6617
2004 | 2.3093 | 84.4357 | 65.7325
2005 | 3 | 90 | 70
2006 | 2.9865 | 90 | 75.1351
2007 | 2.9176 | 95.909 | 73.1452
2008 | 2 | 80 | 59
2009 | 3.6849 | 107.4632 | 80.5197
2010 | 2.8529 | 93.2276 | 73.5373
2011 | 3.3113 | 104.6453 | 80.5742
2012 | 4.3017 | 122.7023 | 90.1636
2013 | 4.0222 | 116.6217 | 84.841
2014 | 3.3549 | 115.8443 | 84.0555
2015 | 4.1326 | 118.7807 | 87.7007
2016 | 3.2649 | 111.3246 | 90.9395
2017 | 5.4168 | 140.7585 | 98.8749
2018 | 4.6858 | 132.7968 | 90.7273
2019 | 6.3057 | 148.0869 | 101.7737
2020 | 6.8908 | 150.6714 | 103.4914
2021 | 7.8805 | 153.5339 | 107.6483
2022 | 7.5971 | 160.8641 | 130.0649
2023 | 8.5885 | 175.368 | 122.407
2024 | 8.7966 | 208.7288 | 137.1864
2025 | 11.3118 | 203.0538 | 139.9247

## S54-55, OEM Market Share
Slides 54-55: Offshore Manufacturers by Market Share for 2019 and Future Disclosed Pipeline
OEM | Operating | Announced | Total
Unreported | 2583.086 | 166008.381 | 168591.467
Siemens Gamesa | 14311.42 | 17605.5 | 31916.92
MHI Vestas | 4497.52 | 9517.716 | 14015.236
GE Energy | 560.5 | 6220 | 6780.5
Senvion | 1243.2 | 257.808 | 1501.008
Goldwind | 1136.8 | 148.5 | 1285.3
MingYang | 66 | 1206.5 | 1272.5
Adwen | 990 | 0 | 990
Envision Energy | 602.4 | 216 | 818.4
Sinovel | 108 | 600 | 708
CSIC Haizhuang Windpower Equipment | 0 | 650 | 650
Bard | 400 | 0 | 400
Hitachi Ltd | 0 | 303.895 | 303.895
Sewind | 219 | 0 | 219
China Creative Wind Energy | 0 | 200 | 200
Other | 345.93 | 176.05 | 521.98
Total | 27063.856 | 203110.35 | 230174.206

## S56-58, Sub. Market Share
Slides 56-58: Offshore Wind Substructure Technology Trend for 2019 and Future Disclosed Pipeline
Type | Category | Operating | Announced | Total
Barge | Floating | 8 | 274.8 | 282.8
Fixed Bottom (Unreported) | Fixed | 12 | 148584.425 | 148596.425
Gravity Base | Fixed | 843.5 | 2174 | 3017.5
High-Rise Pile Cap | Fixed | 1347.12 | 1789 | 3136.12
Jacket | Fixed | 2438.2 | 14833.2 | 17271.4
Monopile | Fixed | 20292.52 | 26349.924 | 46642.444
Semisubmersible | Floating | 34.2 | 5153.475 | 5187.675
Spar | Floating | 41.93 | 304.6 | 346.53
Suction Bucket | Fixed | 85.7 | 1184.5 | 1270.2
Tension-Leg Platform | Floating | 0 | 29.5 | 29.5
Tripod | FIxed | 1030 | 0 | 1030
Unreported | - | 930.686 | 2432.926 | 3363.612
Total | - | 27063.856 | 203110.35 | 230174.206
High-rise pile caps are offshore wind foundations that use a group of piles to support a flat, stable pad. The wind turbine tower is then installed on top of the pad. These foundations are primarily found in the Chinese market and deployed in shallow waters.

## S64, Global Strike Prices
Slide 64: Adjusted Strike Prices From U.S. and European Offshore Wind Auctions
Commercial Operation Date | Project Name | Country | Adjusted Price (2019USD/MWh)
2019 | Walney Extension | United Kingdom | 209
2019 | Beatrice | United Kingdom | 194
2019 | Hornsea ONE | United Kingdom | 194
2019 | East Anglia ONE | United Kingdom | 167
2019 | Horns Rev 3 | Denmark | 140
2020 | Neart na Gaoithe | United Kingdom | 159
2020 | Vesterhav Nord & Syd | Denmark | 93
2020 | Borssele 1 and 2 | Netherlands | 107
2021 | Triton Knoll | United Kingdom | 136
2021 | Kriegers Flak | Denmark | 77
2022 | Hornsea 2 | United Kingdom | 104
2022 | Moray East | United Kingdom | 104
2022 | Hollandse Kust Zuid III & IV | Netherlands | 79
2022 | Vineyard Wind 1 | United States | 94
2023 | Borssele 3 & 4 | Netherlands | 87
2023 | Gode Wind 3 | Germany | 82
2023 | Vineyard Wind 2 | United States | 79
2023 | Revolution Wind | United States | 90
2023 | U.S. Wind | United States | 125
2023 | Skipjack | United States | 125
2024 | Borkum Riffgrund West 2 | Germany | 87
2024 | OWP West | Germany | 86
2024 | Borkum Riffgrund West 1 | Germany | 84
2024 | Ocean Wind | United States | 99
2024 | Empire Wind | United States | 94
2024 | Sunrise Wind | United States | 91
2024 | Doggerbank A | United Kingdom | 88
2025 | Gode Wind 4 | Germany | 123
2025 | He Dreiht | Germany | 89
2025 | Mayflower Wind | United States | 70
2025 | Doggerbank B | United Kingdom | 91
*Grid and development costs added
**Grid costs added and contract length adjusted
The strike price for an offshore wind project from an auction is usually the lowest bid price at which the offering can be sold. The strike price usually covers a specific contract term for which the project will be paid for the energy (and possibly other products or attributes) produced. The offeror of that strike price is awarded the rights to develop a particular parcel under predetermined conditions set in the tender offer that may vary by country or market. The strike price should not be confused with levelized cost of energy, which may be calculated using different financing and cost assumptions.
In general, these adjusted costs are higher than the unadjusted strike prices but still reflect a steep decline in price for European offshore wind projects installed out to the 2025 COD.

## S65, Fixed LCOE Projections
Slide 65: Fixed LCOE Estimates (USD2019/MWh)
Source | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Berkeley Lab (2016) - Fixed Median |  |  |  |  | 184.2797 | [5 empty] | 147.6274 | [9 empty] | 128.2831
ORE Catapult (2016) |  |  |  |  | 207.6964 | [5 empty] | 158.8267
UDelaware (2016) | [10 empty] | 173.0804 |  |  | 136.428 |  |  |  | 115.0475
BVG (2017) - Monopile | [9 empty] | 118.1019 |  |  | 90.6127 |  |  |  |  | 70.2503 |  |  |  |  | 58.0328
BVG (2017) - Jacket | [9 empty] | 132.3556 |  |  | 96.7214 |  |  |  |  | 72.2865 |  |  |  |  | 59.0509
NREL (2017) - Monopile | [7 empty] | 170.026 |  |  |  |  | 138.4643 |  |  |  |  | 115.0475
NREL (2017) - Jacket | [7 empty] | 176.1347 |  |  |  |  | 139.4824 |  |  |  |  | 113.0113
BNEF (2018) - Belgium |  |  |  |  | 230.0951 | 194.4609 | 163.9173 | 146.6092 | 144.573
BNEF (2018) - China |  |  |  |  | 232.1313 |  |  |  | 97.7395
BNEF (2018) - Denmark |  |  |  |  | 181.2253 | 155.7723 | 116.0657 | 81.4496 | 91.6308
BNEF (2018) - Germany |  |  |  |  | 196.4971 | 177.1528 | 139.4824 | 134.3918 | 135.4099
BNEF (2018) - Netherlands |  |  |  |  | 213.8052 | 185.2978 | 124.2106 | 71.2684 | 78.3952
BNEF (2018) - UK |  |  |  |  | 194.4609 | 177.1528 | 141.5186 | 134.3918 | 131.3374
EFKM (2018) | [5 empty] | 75.3409 |  | 68.214 |  |  | 59.0509 | [9 empty] | 46.8335
IRENA (2018) |  |  |  |  | 183.2616 |  |  | 145.5911 |  |  | 81.4496
Lazard (2018) | [5 empty] | 163.9173 | 126.2469 | 117.0838 | 93.667
Wind Europe (2018) - Fixed |  |  |  |  | 188.3522 |  |  | 81.4496
Wood Mackenzie (2018) | [7 empty] | 59.0509 |  |  |  |  | 38.6886
BNEF (2019) Belgium |  |  |  |  | 247.6005 | 209.9906 | 173.6136 | 151.9662 | 146.8156 | 87.5583
BNEF (2019) China |  |  |  |  | 249.7916 |  |  |  | 98.7387 | 95.7033
BNEF (2019) Denmark |  |  |  |  | 195.0128 | 167.7732 | 123.3143 | 84.4257 | 92.5352 | 58.5419
BNEF (2019) Germany |  |  |  |  | 211.4464 | 190.8009 | 148.1935 | 139.3024 | 136.9935 | 105.3754
BNEF (2019) Global | 210.7508 | 233.1494 | 252.4937 | 239.2581 | 227.3323 | 191.8974 | 155.2246 | 129.2768 | 120.4508 | 87.0492 | 100.2895 |  | 88.9165 | 78.5774 | 71.34 | 65.1365 | 61.0009 | 58.933 | 56.8652 | 55.8313 | 53.7635 | 52.7296 | 52.7296 | 51.6956 | 50.6617
BNEF (2019) Netherlands |  |  |  |  | 230.0712 | 199.025 | 131.4271 | 73.8725 | 79.0943 | 62.1053
BNEF (2019) UK |  |  |  |  | 209.2553 | 190.2526 | 149.8161 | 139.3024 | 133.3748 | 76.868
IRENA (2019) High | 206.7801 | 232.6302 | 197.4745 | 217.1242 | 246.0694 | 237.8022 | 206.7801 | 188.1689 | 201.6081 | [11 empty] | 93.0561
IRENA (2019) Mid | 167.4909 | 180.9301 | 162.329 | 153.0234 | 187.1406 | 172.6629 | 142.6793 | 138.5457 | 132.3454 | [11 empty] | 72.3781
IRENA (2019) Low | 125.1066 | 123.0398 | 134.4122 | 101.3233 | 142.6793 | 132.3454 | 103.3901 | 102.3618 | 101.3233 | [11 empty] | 51.7001
Lazard (2019) High |  |  |  |  | 234.4535 | 217.1182 | 167.6642 | 163.5747 | 125.1035 | 117.0838
Lazard (2019) Mid |  |  |  |  | 177.4835 | 166.1283 | 128.182 | 119.2513 | 94.603 | 91.1217
Lazard (2019) Low |  |  |  |  | 120.5135 | 115.1385 | 88.6998 | 74.9278 | 64.1026 | 65.1597
Wood Mackenzie (2019) Global |  |  | 202.6058 | [6 empty] | 134.0864 | [8 empty] | 67.3995
Wood Mackenzie (2019) EMEARC |  |  | 201.5877 | 227.0407 | 208.7146 | 183.2616 | 167.9898 | 152.718 | 130.3193 | 135.8172 | 99.7757 | 86.5402 | 101.812 | 125.2287 | 74.3227 | 71.2684 | 64.1415 | 55.9966 | 51.8223
Wood Mackenzie (2019) China |  |  |  | 125.2287 |  | 103.8482 |  |  |  | 107.3098 | [8 empty] | 64.1415
Wood Mackenzie (2019) USA | [12 empty] | 130.4211 | [5 empty] | 58.0328
Wood Mackenzie (2019) APEC |  |  |  | 252.4937 | 185.2978 | 186.3159 | 137.4462 | 175.1166 | 227.0407 | 146.6092 | 141.1114 | 130.3193 | 156.7904 | 153.7361 | 154.7542 | 128.2831 | 111.9932 | 119.12 | 132.7628
Wood Mackenzie (2019) UK |  |  | 191.4065 | 213.8052 | 193.4428 | 169.0079 | 175.1166 | 157.8086 | 124.2106 | 126.6541 |  | 74.3227 | 77.3771 |  | 52.9422 | 53.9603 | 50.906 |  | 45.2045
Wood Mackenzie (2019) Germany |  |  |  |  | 227.0407 | 228.0588 |  | 125.2287 |  | 158.2158 | 136.428 | 114.0294 | 99.7757 | 85.5221 | 54.9785 |  |  |  | 48.0553
Wood Mackenzie (2019) Netherlands | [5 empty] | 124.2106 | 132.3556 |  |  | 80.3296 | [8 empty] | 48.8697
Wood Mackenzie (2019) Denmark |  |  |  | 158.8267 | [5 empty] | 94.0743 |  | 98.7576 | [6 empty] | 37.4668
Wood Mackenzie (2019) Belgium |  |  | 259.6205 |  |  | 203.624 | 206.6783 | 172.0622 | 157.8086 | 141.4168 | 86.5402 |  |  | 64.1415 |  |  |  |  | 52.2295
Wood Mackenzie (2019) France | [10 empty] | 163.1028 |  |  | 141.5186 |  | 57.0147 |  |  | 52.8404
Wood Mackenzie (2019) Taiwan | [10 empty] | 148.7473 | 140.5005 | 143.5549 |  | 124.2106 | 86.5402 |  |  | 80.6351
Wood Mackenzie (2019) Japan |  |  |  | 313.5809 | [8 empty] | 216.5541 |  | 242.3125 |  |  |  | 166.8698
Wood Mackenzie (2019) South Korea | [7 empty] | 227.0407 |  |  |  |  | 185.0942 | [5 empty] | 129.9121

## S66, Project CapEx
Slide 66: Capital Expenditures for Global Offshore Wind Projects
Commercial Operation Date | Capacity-Weighted Mean CapEx | Capacity-Weighted 5-Year Mean CapEx
2010 | 4322.496 | 3918.1092
2011 | 6020.6959 | 4474.3514
2012 | 5158.7536 | 4828.743
2013 | 5601.5106 | 4891.1095
2014 | 5652.1924 | 5351.1297
2015 | 4796.589 | 5445.9483
2016 | 2913.6128 | 4824.5317
2017 | 4611.8918 | 4715.1593
2018 | 3998.5381 | 4394.5648
2019 | 3636.8971 | 3991.5058
2020 | 3368.4433 | 3705.8766
2021 | 2834.8468 | 3690.1234
2022 | 3043.2137 | 3376.3878
2023 | 3130.4477 | 3202.7697
2024 | 3078.1309 | 3091.0165
2025 | 3174.1269 | 3052.1532
2026 | 3036.2516 | 3092.4342
2027 | 2750.3507 | 3033.8616
2028 | 2996.2301 | 3007.0181
2029 | 3481.1283 | 3087.6175
2030 | 2794.9245 | 3011.7771

## S67, OpEx Projections
Slide 67: Operational Expenditures ($/kW)
Commercial Operation Date | BVG Average | BVG Max | BVG Min | WoodMac Average | WoodMac Min | WoodMac Max | IEA Average | IEA Min | IEA Max
2012 |  |  |  | 119.2913 | 97.044 | 138.4699
2013 |  |  |  | 121.2092 | 94.5508 | 168.0051
2014 |  |  |  | 128.6888 | 105.6744 | 168.964
2015 |  |  |  | 128.497 | 79.2079 | 179.3205
2016 |  |  |  | 112.1952 | 94.9344 | 130.6067
2017 | 96.1268 | 110.0758 | 81.6901 | 113.7295 | 74.9886 | 145.3743
2018 |  |  |  | 106.2498 | 84.0025 | 150.7443 | 96 | 70 | 129
2019 |  |  |  | 104.3319 | 91.2904 | 157.6486
2020 | 87.1795 | 105.8505 | 71.7226 | 80.1668 | 65.2075 | 112.5788
2021 |  |  |  | 58.4949 | 40.0834 | 88.4136
2022 |  |  |  | 63.2896 | 45.2616 | 96.6605
2023 |  |  |  | 66.9335 | 44.8781 | 92.0576
2024 |  |  |  | 54.851 | 51.3988 | 69.235
2025 | 71.8852 | 87.3239 | 63.0553 | 51.3988 | 47.9467 | 59.6456 | 76 | 56 | 97
2026 |  |  |  | 52.166 | 45.4534 | 62.3307
2027 |  |  |  | 44.3027 | 41.0423 | 54.851
2028 |  |  |  | 45.0699 | 40.467 | 49.0974
2030 | 62.6219 | 68.364 | 59.0466 |  |  |  | 66 | 49 | 84
2035 | [6 empty] | 58 | 45 | 78
2040 | [6 empty] | 53 | 43 | 74
Note: In contrast to the other sources, this estimate from BVG Associates explicitly includes the impact from an increase in turbine rating (over time) on turbine CapEx ($/kW) (i.e., from turbine ratings of 8 MW [2018] up to 12 MW ([2027 and 2032]). This citation is included in the references as Valpy et al. (2017).

## S68, Floating LCOE
Slide 68: Floating LCOE Estimates (USD2019/MWh)
Source | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2022 | 2023 | 2025 | 2027 | 2030 | 2032
Wind Europe (2018) - Floating | 222.48 |  |  | 179.22 |  |  | 166.86 |  |  | 98.88 | 82.812 | 63.036
BVG (2018) - Semi | [7 empty] | 132.49 |  |  | 75.95 |  | 62.17
BVG (2018) - Spar | [7 empty] | 139.29 |  |  | 83.92 |  | 64.51
NREL (2017) - Semi |  |  |  | 177.2 |  |  |  | 140.59 |  |  | 111.89
NREL (2017) - Spar |  |  |  | 189.92 |  |  |  | 153.14 |  |  | 122.93
LBNL (2016) - Floating Median | [6 empty] | 159.5 |  |  |  |  | 135.945
UOregon (2019) Site 1 | [5 empty] | 156 |  | 138 |  |  | 102 |  | 74
UOregon (2019) Site 2 | [5 empty] | 149 |  | 131 |  |  | 97 |  | 70
UOregon (2019) Site 3 | [5 empty] | 143 |  | 125 |  |  | 93 |  | 67
UOregon (2019) Site 4 | [5 empty] | 134 |  | 116 |  |  | 87 |  | 63
UOregon (2019) Site 5 | [5 empty] | 112 |  | 95 |  |  | 74 |  | 53
UOregon (2019) - Average | [5 empty] | 138.8 |  | 121 |  |  | 90.6 |  | 65.4
UMaine (2019) | [5 empty] | 107 |  | 88 |  |  | 74 |  | 57
Estimates from ORE Catapult (2018) were converted from £2012 to $2018 using 2012 exchange rates and applying a cumulative U.S. inflation factor of 9.4% for the period 2012-2018. The ORE Catapult (2018) estimates reflect demonstration (2018), precommercial (2025), and commercial status (2027).