## Read me
Disclaimer: The National Renewable Energy Laboratory (NREL) is operated for the U.S. Department of Energy (DOE) by Alliance for Sustainable Energy, LLC ("Alliance"). Access to or use of any data or software made available on this server ("Data") shall impose the following obligations on the user, and use of the Data constitutes user's agreement to these terms. The user is granted the right, without any fee or cost, to use or copy the Data, provided that this entire notice appears in all copies of the Data. Further, the user agrees to credit DOE/NREL/ALLIANCE in any publication that results from the use of the Data. The names DOE/NREL/ALLIANCE, however, may not be used in any advertising or publicity to endorse or promote any products or commercial entities unless specific written permission is obtained from DOE/NREL/ ALLIANCE. The user also understands that DOE/NREL/ALLIANCE are not obligated to provide the user with any support, consulting, training or assistance of any kind with regard to the use of the Data or to provide the user with any updates, revisions or new versions thereof. DOE, NREL, and ALLIANCE do not guarantee or endorse any results generated by use of the Data, and user is entirely responsible for the results and any reliance on the results or the Data in general. USER AGREES TO INDEMNIFY DOE/NREL/ALLIANCE AND ITS SUBSIDIARIES, AFFILIATES, OFFICERS, AGENTS, AND EMPLOYEES AGAINST ANY CLAIM OR DEMAND, INCLUDING REASONABLE ATTORNEYS' FEES, RELATED TO USER’S USE OF THE DATA. THE DATA ARE PROVIDED BY DOE/NREL/ALLIANCE "AS IS," AND ANY EXPRESS OR IMPLIED WARRANTIES, INCLUDING BUT NOT LIMITED TO THE IMPLIED WARRANTIES OF MERCHANTABILITY AND FITNESS FOR A PARTICULAR PURPOSE ARE DISCLAIMED. DOE/NREL/ALLIANCE ASSUME NO LEGAL LIABILITY OR RESPONSIBILITY FOR THE ACCURACY, COMPLETENESS, OR USEFULNESS OF THE DATA, OR REPRESENT THAT ITS USE WOULD NOT INFRINGE PRIVATELY OWNED RIGHTS. IN NO EVENT SHALL DOE/NREL/ALLIANCE BE LIABLE FOR ANY SPECIAL, INDIRECT OR CONSEQUENTIAL DAMAGES OR ANY DAMAGES WHATSOEVER, INCLUDING BUT NOT LIMITED TO CLAIMS ASSOCIATED WITH THE LOSS OF DATA OR PROFITS, THAT MAY RESULT FROM AN ACTION IN CONTRACT, NEGLIGENCE OR OTHER TORTIOUS CLAIM THAT ARISES OUT OF OR IN CONNECTION WITH THE ACCESS, USE OR PERFORMANCE OF THE DATA. Instructions for use: - This workbook is intended for use in conjunction with National Renewable Energy Laboratory (NREL) approved Laboratory Analytical Procedures (LAPs) only. - Cells highlighted in blue are areas where values or information should be entered. - Cells in white are calculations or references that should not be changed unless necessary. - The pages in this workbook are locked to protect the integrity of the workbook. Many of the cells contain calculations that can be inadvertently changed or copied over. To unlock a sheet, choose the Tools option from the menu, choose Protection, and highlight the Unprotect Sheet option. This will unlock all of the cells in the page. Unlocking is not recommended unless product specific changes must be made. - This workbook may be distributed to other organizations in its original form only. - Abbreviations: TRB- Technical Record Book ADW- Air dry weight, the weight of a sample or apparatus after air drying or vacuum oven drying ODW- Oven dry weight, the weight of a sample or apparatus corrected for moisture content For questions, comments, or suggestions, please contact biomass_laps@nrel.gov. Revision: 7-15-2005

## TRB Record
Master Ref | Owner name | Sample ID | TRB log-in. | TRB Lignin | TRB Monomeric sugars | TRB Total Sugars | TRB Organic acids
1 |  |  |  | 0 | 0 | 0 | 0
replicate 1 |  |  |  | 0 | 0 | 0 | 0
2 |  |  |  | 0 | 0 | 0 | 0
replicate 2 |  |  |  | 0 | 0 | 0 | 0
3 |  |  |  | 0 | 0 | 0 | 0
replicate 3 |  |  |  | 0 | 0 | 0 | 0
4 |  |  |  | 0 | 0 | 0 | 0
replicate 4 |  |  |  | 0 | 0 | 0 | 0
5 |  |  |  | 0 | 0 | 0 | 0
replicate 5 |  |  |  | 0 | 0 | 0 | 0
6 |  |  |  | 0 | 0 | 0 | 0
replicate 6 |  |  |  | 0 | 0 | 0 | 0
7 |  |  |  | 0 | 0 | 0 | 0
replicate 7 |  |  |  | 0 | 0 | 0 | 0
8 |  |  |  | 0 | 0 | 0 | 0
replicate 8 |  |  |  | 0 | 0 | 0 | 0
9 |  |  |  | 0 | 0 | 0 | 0
replicate 9 |  |  |  | 0 | 0 | 0 | 0
10 |  |  |  | 0 | 0 | 0 | 0
replicate 10 |  |  |  | 0 | 0 | 0 | 0
11 |  |  |  | 0 | 0 | 0 | 0
replicate 11 |  |  |  | 0 | 0 | 0 | 0
12 |  |  |  | 0 | 0 | 0 | 0
replicate 12 |  |  |  | 0 | 0 | 0 | 0
13 |  |  |  | 0 | 0 | 0 | 0
replicate 13 |  |  |  | 0 | 0 | 0 | 0
14 |  |  |  | 0 | 0 | 0 | 0
replicate 14 |  |  |  | 0 | 0 | 0 | 0
15 |  |  |  | 0 | 0 | 0 | 0
replicate 15 |  |  |  | 0 | 0 | 0 | 0
16 |  |  |  | 0 | 0 | 0 | 0
replicate 16 |  |  |  | 0 | 0 | 0 | 0
17 |  |  |  | 0 | 0 | 0 | 0
replicate 17 |  |  |  | 0 | 0 | 0 | 0
18 |  |  |  | 0 | 0 | 0 | 0
replicate 18 |  |  |  | 0 | 0 | 0 | 0
19 |  |  |  | 0 | 0 | 0 | 0
replicate 19 |  |  |  | 0 | 0 | 0 | 0
20 |  |  |  | 0 | 0 | 0 | 0
replicate 20 |  |  |  | 0 | 0 | 0 | 0
21 |  |  |  | 0 | 0 | 0 | 0
replicate 21 |  |  |  | 0 | 0 | 0 | 0
22 |  |  |  | 0 | 0 | 0 | 0
replicate 22 |  |  |  | 0 | 0 | 0 | 0
23 |  |  |  | 0 | 0 | 0 | 0
replicate 23 |  |  |  | 0 | 0 | 0 | 0
24 |  |  |  | 0 | 0 | 0 | 0
replicate 24 |  |  |  | 0 | 0 | 0 | 0
25 |  |  |  | 0 | 0 | 0 | 0
replicate 25 |  |  |  | 0 | 0 | 0 | 0
26 |  |  |  | 0 | 0 | 0 | 0
replicate 26 |  |  |  | 0 | 0 | 0 | 0
27 |  |  |  | 0 | 0 | 0 | 0
replicate 27 |  |  |  | 0 | 0 | 0 | 0
28 |  |  |  | 0 | 0 | 0 | 0
replicate 28 |  |  |  | 0 | 0 | 0 | 0
29 |  |  |  | 0 | 0 | 0 | 0
replicate 29 |  |  |  | 0 | 0 | 0 | 0
30 |  |  |  | 0 | 0 | 0 | 0
replicate 30 |  |  |  | 0 | 0 | 0 | 0

## Lignin
Master Ref | TRB Lignin | Sample Description | UV Absorbance | l meas (nm) | Sample volume used (ml) | Water volume used (ml) | Dilution | Extinction Coefficient | Sol Lig (mg/ml) | Average Lignin
1 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 1 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
2 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 2 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
3 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 3 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
4 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 4 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
5 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 5 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
6 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 6 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
7 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 7 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
8 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 8 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
9 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 9 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
10 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 10 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
11 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 11 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
12 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 12 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
13 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 13 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
14 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 14 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
15 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 15 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
16 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 16 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
17 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 17 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
18 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 18 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
19 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 19 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
20 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 20 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
21 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 21 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
22 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 22 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
23 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 23 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
24 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 24 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
25 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 25 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
26 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 26 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
27 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 27 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
28 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 28 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
29 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 29 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0
30 |  | 0 |  |  |  |  | #DIV/0! |  | 0
replicate 30 |  | 0 |  |  |  |  | #DIV/0! |  | 0 | 0

## Monomeric sugars
|  |  | Sample dilution |  |  | Raw Data
HPLC Sequence:
Master Ref | TRB Monomeric Sugars | Sample Description | Vol. sample used (ml) | Optional: Water used for dilution (ml) | Dilution factor | Cellobiose(mg/ml) | Glucose (mg/ml) | Xylose (mg/ml) | Galactose (mg/ml) | Arabinose (mg/ml) | Mannose (mg/ml) | Cellobiose(mg/ml) | Glucose (mg/ml) | Xylose (mg/ml) | Galactose (mg/ml) | Arabinose (mg/ml) | Mannose (mg/ml)
1 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 1 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
2 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 2 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
3 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 3 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
4 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 4 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
5 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 5 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
6 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 6 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
7 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 7 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
8 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 8 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
9 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 9 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
10 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 10 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
11 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 11 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
12 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 12 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
13 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 13 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
14 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 14 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
15 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 15 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
16 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 16 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
17 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 17 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
18 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 18 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
19 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 19 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
20 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 20 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
21 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 21 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
22 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 22 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
23 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 23 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
24 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 24 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
25 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 25 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
26 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 26 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
27 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 27 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
28 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 28 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
29 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 29 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
30 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
replicate 30 |  | 0 | 1 |  | 1 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0

## Total sugars
[12 empty] | HPLC Sequence: | [9 empty] | Loss Factor correction
[11 empty] | Sugar Recovery Standards |  |  | Original SRS concentration (mg/ml)
SRS recovered concentration (mg/ml)
[15 empty] | Loss factor: |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | Pre-hydrolysis dilution |  |  |  | Post-hydrolysis dilution |  |  |  | Raw Data |  |  |  |  | Concentration adjustment |  |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Master Ref | TRB Total Sugars | Sample Description | pH | Vol. sample used (ml) | Optional: Water added pre-hydrolysis (ml) | Vol. H2SO4 used (ul) | Dilution factor | Volume hydrolyzed sample used (ml) | Optional: Water added post-hydrolysis (ml) | Dilution factor | Total Dilution factor | Glucose (mg/ml) | Xylose (mg/ml) | Galactose (mg/ml) | Arabinose (mg/ml) | Mannose (mg/ml) | Glucose (mg/ml) | Xylose (mg/ml) | Galactose (mg/ml) | Arabinose (mg/ml) | Mannose (mg/ml) | Glucose (mg/ml) | Xylose (mg/ml) | Galactose (mg/ml) | Arabinose (mg/ml) | Mannose (mg/ml)
1 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 1 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 2 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
3 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 3 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 4 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
5 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 5 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
6 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 6 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
7 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 7 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
8 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 8 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 9 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 10 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 11 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
12 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 12 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 13 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
14 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 14 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
15 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 15 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
16 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 16 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
17 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 17 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
18 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 18 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
19 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 19 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
20 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 20 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
21 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 21 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
22 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 22 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
23 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 23 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
24 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 24 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
25 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 25 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
26 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 26 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
27 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 27 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
28 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 28 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
29 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 29 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
30 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 30 |  | 0 |  | 10 |  |  | 1 | 1 |  | 1 | 1 | [5 empty] | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Organic Acids
|  |  | Sample dilution |  |  | Raw Data | [5 empty] | HPLC Sequence:
Master Ref | TRB Organic acids | Sample Description | Vol. sample used (ml) | Optional: Water used for dilution (ml) | Dilution factor | Acetic acid (mg/ml) | HMF (mg/ml) | Furfural (mg/ml) | Acetic acid (mg/ml) | HMF (mg/ml) | Furfural (mg/ml)
1 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 1 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
2 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 2 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
3 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 3 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
4 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 4 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
5 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 5 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
6 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 6 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
7 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 7 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
8 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 8 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
9 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 9 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
10 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 10 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
11 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 11 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
12 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 12 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
13 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 13 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
14 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 14 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
15 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 15 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
16 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 16 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
17 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 17 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
18 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 18 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
19 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 19 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
20 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 20 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
21 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 21 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
22 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 22 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
23 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 23 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
24 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 24 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
25 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 25 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
26 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 26 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
27 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 27 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
28 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 28 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
29 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 29 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
30 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0
replicate 30 |  | 0 | 1 |  | 1 |  |  |  | 0 | 0 | 0

## Duplicate mass closure
|  |  | Monomeric Sugars | [5 empty] | Total Sugars |  |  |  |  | Organic Acids
Master Ref | Sample Description | Lignin (mg/ml) | Cellobiose (mg/ml) | Glucose (mg/ml) | Xylose (mg/ml) | Galactose (mg/ml) | Arabinose (mg/ml) | Mannose (mg/ml) | Glucose (mg/ml) | Xylose (mg/ml) | Galactose (mg/ml) | Arabinose (mg/ml) | Mannose (mg/ml) | Acetic acid (mg/ml) | HMF (mg/ml) | Furfural (mg/ml)
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
replicate 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0

## Average whole mass closure
|  |  |  | Monomeric Sugars | [5 empty] | Total Sugars |  |  |  |  | Organic Acids
Master Ref | Sample Description | Mark this cell if duplicates were NOT run | Lignin (mg/ml) | Cellobiose (mg/ml) | Glucose (mg/ml) | Xylose (mg/ml) | Galactose (mg/ml) | Arabinose (mg/ml) | Mannose (mg/ml) | Glucose (mg/ml) | Xylose (mg/ml) | Galactose (mg/ml) | Arabinose (mg/ml) | Mannose (mg/ml) | Acetic acid (mg/ml) | HMF (mg/ml) | Furfural (mg/ml)
1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
2 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
3 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
4 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
5 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
6 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
7 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
8 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
10 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
11 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
12 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
13 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
14 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
15 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
16 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
17 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
18 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
19 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
20 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
21 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
22 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
23 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
24 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
25 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
26 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
27 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
28 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
29 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
30 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0

## Error Flags
|  |  | Monomeric Sugars | [5 empty] | Total Sugars
Master Ref | Sample Description | Lignin (mg/ml) | Cellobiose (mg/ml) | Glucose (mg/ml) | Xylose (mg/ml) | Galactose (mg/ml) | Arabinose (mg/ml) | Mannose (mg/ml) | Glucose (mg/ml) | Xylose (mg/ml) | Galactose (mg/ml) | Arabinose (mg/ml) | Mannose (mg/ml) | Acetic acid (mg/ml) | HMF (mg/ml) | Furfural (mg/ml)
Tolerance of Error: |  | 1 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
1 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 1 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 2 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
3 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 3 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
4 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 4 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
5 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 5 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
6 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 6 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
7 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 7 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
8 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 8 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
9 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 9 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
10 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 10 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
11 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 11 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
12 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 12 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
13 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 13 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
14 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 14 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
15 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 15 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
16 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 16 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
17 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 17 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
18 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 18 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
19 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 19 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
20 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 20 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
21 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 21 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
22 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 22 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
23 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 23 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
24 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 24 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
25 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 25 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
26 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 26 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
27 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 27 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
28 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 28 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
29 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 29 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
30 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
replicate 30 | 0 | [7 empty] | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Comments
Master Ref | Sample Description | comments
1 | 0
replicate 1 | 0
2 | 0
replicate 2 | 0
3 | 0
replicate 3 | 0
4 | 0
replicate 4 | 0
5 | 0
replicate 5 | 0
6 | 0
replicate 6 | 0
7 | 0
replicate 7 | 0
8 | 0
replicate 8 | 0
9 | 0
replicate 9 | 0
10 | 0
replicate 10 | 0
11 | 0
replicate 11 | 0
12 | 0
replicate 12 | 0
13 | 0
replicate 13 | 0
14 | 0
replicate 14 | 0
15 | 0
replicate 15 | 0
16 | 0
replicate 16 | 0
17 | 0
replicate 17 | 0
18 | 0
replicate 18 | 0
19 | 0
replicate 19 | 0
20 | 0
replicate 20 | 0
21 | 0
replicate 21 | 0
22 | 0
replicate 22 | 0
23 | 0
replicate 23 | 0
24 | 0
replicate 24 | 0
25 | 0
replicate 25 | 0
26 | 0
replicate 26 | 0
27 | 0
replicate 27 | 0
28 | 0
replicate 28 | 0
29 | 0
replicate 29 | 0
30 | 0
replicate 30 | 0